## Slide 1
Airborne Sampling/Sensing
of Distal Volcanic Ash
Project Sponsor:
Defence Technology Agency
Project Supervisor:
Professor Maan Alkaisi
Special thanks to RNZAF, SERC & NIWA

## Slide 2: Satellite Images

## Slide 3
Ash Concentration

## Slide 4: Project Requirements
Low cost
Recoverable
Live sensing
  Binary detection
  Ash concentration
  Particle size distribution
Physical sample

## Slide 5
Proposed Solution

## Slide 6: Individual tasks
Ryan – Ash sampling
Parth – Electrostatic sensor
Jake – Novel ash sensor, modelling
Jamie – Particle sensor testing
Mike – Flight electronics and telemetry

## Slide 7: Volcanic Ash Physical Sampling System
Ryan Taylor

## Slide 8: Viewing samples
To analyse a sample it will be viewed under a scanning electron microscope (SEM)
Volcanic ash needs to land on carbon tape
Carbon tape is only adhesive
down to 0 C

## Slide 9
Physical Volcanic Ash Sampler
Frist design
Proof of concept
Second design
Testing cyclone size
Before
After

## Slide 10: Current Design Rotary base for multiple samples

## Slide 11: Testing cyclone in wind tunnel
Testing conditions needing to be met
Air speed of 5m/s
Ash concentration 10mg/m^3
Particle size < 50 micron
Temperature 20C to -20C
Air density 1/3 of ground level air density
Solid aerosol generator (SAG)
Rotary cyclone prepared for testing

## Slide 12: Results from SEM
100X
200X
300X
Particle distribution
100X

## Slide 13: Future Development
Smooth surfaces inside cyclone for less surface friction
Air tight bottom compartment
Four chambers for smaller size
Add 360 degree rotation from servo (currently only 180 degrees)
The ability to set the cyclone at any angle relative to the base
Heating from telemetry to keep carbon tape warm