## Test Setup
Test setup was as shown, sensors were hung in chamber just above opacity meter laser beam. SAG flow was controlled (turned on and off) into the chamber to where a reading of approximately 10 mg/m^3 was read by the sensors.

## Data and Sensor Comparison
|  | 0.38 - 1.05 Micron | 1.05 - 3 Micron | 3 - 10 Micron | 10 - 14 Micron | 14 - 17.5 Micron | OPCN2 | Time Since Start | PMS1003 in ug | PMS1003 | Time (s) | Opacity Meter | Time | Injecting Dust with SAG
10.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 2.92 | 5.42 | 0.00542 | 1 | 0 | 0 | 0
20.4 | 10.2 | 0 | 0 | 0 | 0 | 0 | 0 | 5.09 | 5.51 | 0.00551 | 2 | 0 | 99 | 0
30.5 | 20.3 | 0 | 0 | 0 | 0 | 0 | 0 | 7.26 | 5.56 | 0.00556 | 3 | 0 | 100 | 25
40.7 | 30.5 | 0 | 0 | 0 | 0 | 0 | 0.01 | 9.43 | 5.85 | 0.00585 | 4 | 0 | 130 | 25
50.8 | 40.6 | 0 | 0 | 0 | 0 | 0 | 0.01 | 11.6 | 4.3 | 0.0043 | 5 | 0 | 131 | 0
61 | 50.8 | 0 | 0 | 0 | 0 | 0 | 0.01 | 13.77 | 3.02 | 0.00302 | 6 | 0 | 199 | 0
71.2 | 61 | 0 | 0 | 0 | 0 | 0 | 0.01 | 15.94 | 3.37 | 0.00337 | 7 | 0 | 200 | 25
81.3 | 71.1 | 0 | 0 | 0 | 0 | 0 | 0.01 | 18.1 | 3.33 | 0.00333 | 8 | 0 | 235 | 25
91.5 | 81.3 | 0 | 0 | 0 | 0 | 0 | 0 | 20.27 | 3.59 | 0.00359 | 9 | 0 | 236 | 0
101.6 | 91.4 | 0 | 0 | 0 | 0 | 0 | 0 | 22.44 | 5.65 | 0.00565 | 10 | 0 | 379 | 0
111.8 | 101.6 | 0 | 0 | 0 | 0 | 0 | 0.01 | 24.61 | 5.69 | 0.00569 | 11 | 0 | 380 | 25
122 | 111.8 | 0.01 | 0 | 0.03 | 0.09 | 0 | 0.27 | 26.78 | 4.8 | 0.0048 | 12 | 0 | 423 | 25
132.1 | 121.9 | 0.14 | 0.16 | 1.59 | 2.06 | 1.72 | 8.86 | 28.95 | 4.77 | 0.00477 | 13 | 0 | 424 | 0
142.3 | 132.1 | 0.1 | 0.44 | 2.62 | 2.15 | 1.24 | 11.64 | 31.12 | 4.43 | 0.00443 | 14 | 0 | 1200 | 0
152.4 | 142.2 | 0.04 | 0.52 | 2.67 | 1.96 | 1.15 | 10.45 | 33.29 | 4.42 | 0.00442 | 15 | 0
162.6 | 152.4 | 0.04 | 0.5 | 2.89 | 3 | 1.55 | 12.95 | 35.46 | 4.44 | 0.00444 | 16 | 0
172.7 | 162.5 | 0.06 | 0.48 | 2.14 | 2.02 | 1.22 | 10.74 | 37.62 | 4.46 | 0.00446 | 17 | 0
182.9 | 172.7 | 0.07 | 0.47 | 2.06 | 1.84 | 1.37 | 10.51 | 39.79 | 4.38 | 0.00438 | 18 | 0
193.1 | 182.9 | 0.08 | 0.45 | 1.71 | 2.06 | 0.44 | 8.38 | 41.96 | 4.06 | 0.00406 | 19 | 0
203.2 | 193 | 0.08 | 0.42 | 1.53 | 1.39 | 0.74 | 6.83 | 44.13 | 1.98 | 0.00198 | 20 | 0
213.4 | 203.2 | 0.09 | 0.4 | 1.44 | 1.59 | 0.8 | 6.76 | 46.3 | 1.86 | 0.00186 | 21 | 0
223.5 | 213.3 | 0.1 | 0.37 | 1.16 | 0.76 | 0.22 | 4.67 | 48.47 | 1.86 | 0.00186 | 22 | 0
233.7 | 223.5 | 0.06 | 0.49 | 2.09 | 1.48 | 0.96 | 9.09 | 50.64 | 1.96 | 0.00196 | 23 | 0
243.8 | 233.6 | 0.01 | 0.44 | 3.44 | 2.37 | 1.42 | 12.72 | 52.81 | 2.11 | 0.00211 | 24 | 0
254 | 243.8 | 0 | 0.34 | 4.45 | 2.82 | 1.41 | 15.03 | 54.97 | 2.22 | 0.00222 | 25 | 0
264.1 | 253.9 | 0 | 0.32 | 4.55 | 2.66 | 1.86 | 15.2 | 57.14 | 2.54 | 0.00254 | 26 | 0
274.3 | 264.1 | 0.01 | 0.38 | 3.84 | 2.35 | 1.56 | 13.88 | 59.31 | 2.18 | 0.00218 | 27 | 0
284.5 | 274.3 | 0.01 | 0.41 | 3.41 | 2.59 | 1.16 | 12.29 | 61.48 | 2.29 | 0.00229 | 28 | 0
294.6 | 284.4 | 0.02 | 0.42 | 3.14 | 2.21 | 1 | 10.77 | 63.65 | 4.24 | 0.00424 | 29 | 0
304.8 | 294.6 | 0.02 | 0.45 | 2.46 | 1.16 | 0.55 | 7.9 | 65.82 | 5.47 | 0.00547 | 30 | 0
314.9 | 304.7 | 0.03 | 0.44 | 2.34 | 1.1 | 0.48 | 7.37 | 67.99 | 5.47 | 0.00547 | 31 | 0
325.1 | 314.9 | 0.03 | 0.46 | 2.39 | 1.17 | 0.79 | 7.87 | 70.16 | 5.69 | 0.00569 | 32 | 0
335.3 | 325.1 | 0.04 | 0.44 | 1.85 | 1.14 | 0.76 | 7.29 | 72.32 | 5.77 | 0.00577 | 33 | 0
345.4 | 335.2 | 0.05 | 0.45 | 1.87 | 1.33 | 0.57 | 6.76 | 74.49 | 5.52 | 0.00552 | 34 | 0
355.6 | 345.4 | 0.05 | 0.44 | 1.61 | 1.05 | 0.43 | 6.19 | 76.66 | 5.38 | 0.00538 | 35 | 0
365.7 | 355.5 | 0.06 | 0.42 | 1.38 | 0.76 | 0.51 | 5.19 | 78.83 | 6.17 | 0.00617 | 36 | 0
375.9 | 365.7 | 0.07 | 0.41 | 1.18 | 0.73 | 0.15 | 4.46 | 81 | 6.17 | 0.00617 | 37 | 0
386 | 375.8 | 0.08 | 0.39 | 1.15 | 0.91 | 0.38 | 4.27 | 83.17 | 6.11 | 0.00611 | 38 | 0
396.2 | 386 | 0.08 | 0.39 | 1.08 | 0.78 | 0.46 | 4.52 | 85.34 | 4.5 | 0.0045 | 39 | 0
406.4 | 396.2 | 0.08 | 0.37 | 1.03 | 0.44 | 0.3 | 3.91 | 87.5 | 3.19 | 0.00319 | 40 | 0
416.5 | 406.3 | 0.03 | 0.47 | 3.15 | 1.18 | 0.81 | 8.71 | 89.67 | 5.01 | 0.00501 | 41 | 0
426.7 | 416.5 | 0.01 | 0.4 | 4.32 | 2.3 | 0.72 | 11.59 | 91.84 | 4.74 | 0.00474 | 42 | 0
436.8 | 426.6 | 0 | 0.23 | 6.23 | 2.66 | 1.68 | 16.67 | 94.01 | 5.62 | 0.00562 | 43 | 0
447 | 436.8 | 0 | 0.23 | 6.68 | 3.4 | 1.8 | 18.48 | 96.18 | 5.63 | 0.00563 | 44 | 0
457.1 | 446.9 | 0 | 0.22 | 6.73 | 2.42 | 0.85 | 15.42 | 98.35 | 5.57 | 0.00557 | 45 | 0
467.3 | 457.1 | 0.01 | 0.29 | 6.14 | 2.5 | 1.03 | 15.38 | 100.52 | 4.57 | 0.00457 | 46 | 0
477.5 | 467.3 | 0.01 | 0.33 | 5.3 | 2.57 | 1.1 | 14.26 | 102.69 | 4.5 | 0.0045 | 47 | 0
487.6 | 477.4 | 0.01 | 0.34 | 4.78 | 2.02 | 0.75 | 11.95 | 104.86 | 4.54 | 0.00454 | 48 | 0
497.8 | 487.6 | 0.01 | 0.37 | 4.6 | 1.87 | 0.69 | 11.57 | 107.02 | 4.47 | 0.00447 | 49 | 0
507.9 | 497.7 | 0.02 | 0.38 | 3.86 | 1.31 | 0.81 | 9.72 | 109.19 | 4.6 | 0.0046 | 50 | 0
518.1 | 507.9 | 0.02 | 0.4 | 3.36 | 1.32 | 0.82 | 9.47 | 111.36 | 5.81 | 0.00581 | 51 | 0
528.2 | 518 | 0.03 | 0.41 | 3.32 | 1.67 | 0.77 | 9.96 | 113.53 | 173.42 | 0.17342 | 52 | 0
538.4 | 528.2 | 0.03 | 0.41 | 2.83 | 1.32 | 0.64 | 8.05 | 115.64 | 785.89 | 0.78589 | 53 | 0
548.6 | 538.4 | 0.04 | 0.41 | 2.55 | 1.04 | 0.71 | 7.55 | 117.79 | 1074.78 | 1.0748 | 54 | 0
558.7 | 548.5 | 0.05 | 0.4 | 2.56 | 1.05 | 0.14 | 6.45 | 119.94 | 1584.98 | 1.585 | 55 | 0
568.9 | 558.7 | 0.05 | 0.4 | 2.15 | 0.58 | 0.43 | 5.73 | 122.03 | 1806.65 | 1.8067 | 56 | 0
579 | 568.8 | 0.06 | 0.4 | 2.01 | 0.88 | 0.59 | 6.25 | 124.12 | 2390.13 | 2.3901 | 57 | 0
589.2 | 579 | 0.06 | 0.38 | 1.78 | 0.68 | 0.15 | 5.26 | 126.19 | 3359.25 | 3.3592 | 58 | 0
599.3 | 589.1 | 0.07 | 0.36 | 1.58 | 0.72 | 0.3 | 4.42 | 128.28 | 4293.77 | 4.2938 | 59 | 0
609.5 | 599.3 | 0.08 | 0.35 | 1.54 | 0.42 | 0.76 | 4.83 | 130.39 | 4932.6 | 4.9326 | 60 | 0
619.6 | 609.4 | 0.08 | 0.32 | 1.32 | 0.53 | 0.08 | 3.64 | 132.46 | 5297.64 | 5.2976 | 61 | 0
629.8 | 619.6 | 0.08 | 0.3 | 1.09 | 0.56 | 0.08 | 3.3 | 134.52 | 5846.77 | 5.8468 | 62 | 0
640 | 629.8 | 0.09 | 0.29 | 1.11 | 0.46 | 0.23 | 3.28 | 136.6 | 6217.06 | 6.2171 | 63 | 0
650.1 | 639.9 | 0.09 | 0.26 | 0.94 | 0.57 | 0.16 | 3.08 | 138.68 | 6600.78 | 6.6008 | 64 | 0
660.3 | 650.1 | 0.09 | 0.25 | 0.94 | 0.31 | 0 | 2.51 | 140.75 | 6803.41 | 6.8034 | 65 | 0
670.4 | 660.2 | 0.09 | 0.22 | 0.78 | 0.17 | 0.16 | 2.35 | 142.82 | 7085.64 | 7.0856 | 66 | 0
680.6 | 670.4 | 0.09 | 0.21 | 0.75 | 0.38 | 0.24 | 2.43 | 144.89 | 7372.37 | 7.3724 | 67 | 0
690.8 | 680.6 | 0.09 | 0.2 | 0.69 | 0.26 | 0 | 1.99 | 146.98 | 7393.56 | 7.3936 | 68 | 0
700.9 | 690.7 | 0.08 | 0.19 | 0.59 | 0.35 | 0.08 | 1.89 | 149.05 | 6907.5 | 6.9075 | 69 | 0
711.1 | 700.9 | 0.08 | 0.17 | 0.47 | 0.17 | 0.16 | 1.79 | 151.1 | 7017.55 | 7.0175 | 70 | 0
721.2 | 711 | 0.08 | 0.16 | 0.44 | 0.15 | 0.08 | 1.48 | 153.16 | 7507.3 | 7.5073 | 71 | 0
731.4 | 721.2 | 0.08 | 0.14 | 0.41 | 0.21 | 0 | 1.34 | 155.24 | 7506.85 | 7.5069 | 72 | 0
741.5 | 731.3 | 0.08 | 0.13 | 0.38 | 0.09 | 0.08 | 1.19 | 157.31 | 7356.28 | 7.3563 | 73 | 0
751.7 | 741.5 | 0.07 | 0.13 | 0.3 | 0.21 | 0 | 1.14 | 159.37 | 7113.99 | 7.114 | 74 | 0
761.8 | 751.6 | 0.07 | 0.12 | 0.32 | 0.15 | 0.08 | 1.07 | 161.45 | 7826.62 | 7.8266 | 75 | 0
772 | 761.8 | 0.07 | 0.1 | 0.3 | 0.03 | 0.08 | 0.87 | 163.55 | 7531.66 | 7.5317 | 76 | 0
782.2 | 772 | 0.06 | 0.1 | 0.24 | 0.06 | 0 | 0.7 | 165.61 | 7659.29 | 7.6593 | 77 | 0
792.3 | 782.1 | 0.06 | 0.09 | 0.27 | 0.03 | 0 | 0.69 | 167.69 | 7351.36 | 7.3514 | 78 | 0
802.5 | 792.3 | 0.05 | 0.08 | 0.26 | 0.12 | 0.08 | 0.94 | 169.77 | 7364.78 | 7.3648 | 79 | 0
812.6 | 802.4 | 0.05 | 0.07 | 0.21 | 0.06 | 0 | 0.6 | 171.87 | 7307.73 | 7.3077 | 80 | 0
822.8 | 812.6 | 0.05 | 0.07 | 0.2 | 0.06 | 0.09 | 0.62 | 173.97 | 7268.06 | 7.2681 | 81 | 0
832.9 | 822.7 | 0.04 | 0.06 | 0.16 | 0 | 0 | 0.41 | 176.08 | 7355.79 | 7.3558 | 82 | 0
843.1 | 832.9 | 0.04 | 0.06 | 0.12 | 0 | 0 | 0.35 | 178.16 | 7502.18 | 7.5022 | 83 | 0
853.3 | 843.1 | 0.04 | 0.05 | 0.13 | 0.09 | 0 | 0.42 | 180.26 | 7560.21 | 7.5602 | 84 | 0
863.4 | 853.2 | 0.04 | 0.05 | 0.13 | 0.09 | 0 | 0.38 | 182.34 | 6510.03 | 6.51 | 85 | 0
873.6 | 863.4 | 0.03 | 0.04 | 0.15 | 0.03 | 0 | 0.33 | 184.43 | 7689.22 | 7.6892 | 86 | 0
883.7 | 873.5 | 0.03 | 0.04 | 0.11 | 0 | 0 | 0.27 | 186.51 | 7177.48 | 7.1775 | 87 | 0
893.9 | 883.7 | 0.03 | 0.03 | 0.1 | 0 | 0 | 0.21 | 188.61 | 7656.72 | 7.6567 | 88 | 0
904 | 893.8 | 0.03 | 0.03 | 0.07 | 0 | 0 | 0.18 | 190.7 | 7648.12 | 7.6481 | 89 | 0
914.2 | 904 | 0.02 | 0.03 | 0.07 | 0 | 0 | 0.2 | 192.8 | 7627.51 | 7.6275 | 90 | 0
924.3 | 914.1 | 0.02 | 0.03 | 0.07 | 0.03 | 0 | 0.21 | 194.9 | 7177.11 | 7.1771 | 91 | 0
934.5 | 924.3 | 0.02 | 0.02 | 0.07 | 0 | 0 | 0.16 | 196.98 | 7043.78 | 7.0438 | 92 | 0
944.7 | 934.5 | 0.02 | 0.02 | 0.05 | 0.03 | 0.08 | 0.27 | 199.07 | 6657.24 | 6.6572 | 93 | 0
954.8 | 944.6 | 0.02 | 0.02 | 0.05 | 0.03 | 0 | 0.16 | 201.16 | 6538.76 | 6.5388 | 94 | 0
965 | 954.8 | 0.02 | 0.02 | 0.05 | 0 | 0 | 0.16 | 203.28 | 6533.97 | 6.534 | 95 | 0
975.1 | 964.9 | 0.02 | 0.02 | 0.03 | 0 | 0 | 0.17 | 205.39 | 6276.4 | 6.2764 | 96 | 0
985.3 | 975.1 | 0.02 | 0.02 | 0.04 | 0.09 | 0 | 0.19 | 207.49 | 6247.78 | 6.2478 | 97 | 0
995.4 | 985.2 | 0.01 | 0.01 | 0.05 | 0 | 0 | 0.11 | 209.62 | 5521.73 | 5.5217 | 98 | 0
1005.6 | 995.4 | 0.01 | 0.01 | 0.04 | 0 | 0 | 0.13 | 211.73 | 5502.15 | 5.5021 | 99 | 0
1015.7 | 1005.5 | 0.01 | 0.01 | 0.03 | 0 | 0 | 0.09 | 213.84 | 5172.03 | 5.172 | 100 | 0
1025.9 | 1015.7 | 0.01 | 0.01 | 0.02 | 0 | 0 | 0.14 | 215.92 | 6021.89 | 6.0219 | 101 | 0
1036.1 | 1025.9 | 0.01 | 0.01 | 0.03 | 0 | 0 | 0.06 | 218.02 | 6395.65 | 6.3956 | 102 | 0
1046.2 | 1036 | 0.01 | 0.01 | 0.03 | 0 | 0 | 0.09 | 220.08 | 7114.11 | 7.1141 | 103 | 0
1056.4 | 1046.2 | 0.01 | 0.01 | 0.02 | 0 | 0 | 0.05 | 222.16 | 8240.27 | 8.2403 | 104 | 0
1066.5 | 1056.3 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0.04 | 224.23 | 8732.31 | 8.7323 | 105 | 0
1076.7 | 1066.5 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0.04 | 226.3 | 9325.49 | 9.3255 | 106 | 0
1086.8 | 1076.6 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0.04 | 228.4 | 11249.79 | 11.2498 | 107 | 0
1097 | 1086.8 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0.04 | 230.47 | 11912.93 | 11.9129 | 108 | 0
1107.1 | 1096.9 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0.03 | 232.54 | 12551.58 | 12.5516 | 109 | 0
1117.3 | 1107.1 | 0.01 | 0 | 0.01 | 0 | 0 | 0.03 | 234.61 | 15499.2 | 15.4992 | 110 | 0
1127.5 | 1117.3 | 0.01 | 0 | 0 | 0 | 0 | 0.02 | 236.68 | 15966.67 | 15.9667 | 111 | 0
1137.6 | 1127.4 | 0.01 | 0 | 0.03 | 0 | 0 | 0.05 | 238.76 | 16498.72 | 16.4987 | 112 | 0
1147.8 | 1137.6 | 0.01 | 0 | 0 | 0 | 0 | 0.02 | 240.86 | 16295.48 | 16.2955 | 113 | 0
1157.9 | 1147.7 | 0.01 | 0 | 0.01 | 0 | 0 | 0.02 | 242.93 | 16338.32 | 16.3383 | 114 | 0
1168.1 | 1157.9 | 0 | 0 | 0 | 0 | 0 | 0.02 | 244.99 | 17373.47 | 17.3735 | 115 | 0
1178.2 | 1168 | 0 | 0 | 0 | 0 | 0 | 0.01 | 247.06 | 17319.83 | 17.3198 | 116 | 0
1188.4 | 1178.2 | 0 | 0 | 0.01 | 0 | 0 | 0.02 | 249.16 | 16338.67 | 16.3387 | 117 | 0
1198.5 | 1188.3 | 0 | 0 | 0 | 0 | 0 | 0.02 | 251.24 | 16612.95 | 16.613 | 118 | 0
1208.7 | 1198.5 | 0 | 0 | 0 | 0 | 0 | 0.01 | 253.3 | 17064.15 | 17.0642 | 119 | 0.5
1218.9 | 1208.7 | 0 | 0 | 0 | 0 | 0 | 0.01 | 255.38 | 15152 | 15.152 | 120 | 1
1229 | 1218.8 | 0 | 0 | 0 | 0 | 0 | 0.01 | 257.44 | 14448.45 | 14.4485 | 121 | 1.5
[8 empty] | 259.55 | 13819.83 | 13.8198 | 122 | 1.9
[8 empty] | 261.64 | 14006.66 | 14.0067 | 123 | 2.6
[8 empty] | 263.72 | 14117.78 | 14.1178 | 124 | 3.1
[8 empty] | 265.82 | 13946.81 | 13.9468 | 125 | 3.7
[8 empty] | 267.89 | 13426.72 | 13.4267 | 126 | 4.2
[8 empty] | 269.98 | 12782.12 | 12.7821 | 127 | 5.3
[8 empty] | 272.07 | 13694.42 | 13.6944 | 128 | 6.1
[8 empty] | 274.17 | 13856.05 | 13.856 | 129 | 7.3
[8 empty] | 276.27 | 14621.22 | 14.6212 | 130 | 8.6
[8 empty] | 278.36 | 14779.64 | 14.7796 | 131 | 11.3
[8 empty] | 280.44 | 14752.57 | 14.7526 | 132 | 12.2
[8 empty] | 282.51 | 14617.21 | 14.6172 | 133 | 12.6
[8 empty] | 284.6 | 14647.6 | 14.6476 | 134 | 12.7
[8 empty] | 286.68 | 13820.52 | 13.8205 | 135 | 12.3
[8 empty] | 288.75 | 14034.81 | 14.0348 | 136 | 11.8
[8 empty] | 290.84 | 14547 | 14.547 | 137 | 11.3
[8 empty] | 292.92 | 13617.99 | 13.618 | 138 | 10.7
[8 empty] | 294.99 | 12983.58 | 12.9836 | 139 | 9.9
[8 empty] | 297.08 | 12099.22 | 12.0992 | 140 | 9.4
[8 empty] | 299.17 | 12061.49 | 12.0615 | 141 | 8.9
[8 empty] | 301.25 | 12387.5 | 12.3875 | 142 | 8.4
[8 empty] | 303.33 | 11804.57 | 11.8046 | 143 | 7.7
[8 empty] | 305.4 | 11589.17 | 11.5892 | 144 | 7.4
[8 empty] | 307.5 | 12001.59 | 12.0016 | 145 | 7.2
[8 empty] | 309.62 | 11653.3 | 11.6533 | 146 | 7
[8 empty] | 311.71 | 11277.09 | 11.2771 | 147 | 6.6
[8 empty] | 313.78 | 11502.48 | 11.5025 | 148 | 6.5
[8 empty] | 315.86 | 11692.17 | 11.6922 | 149 | 6.5
[8 empty] | 317.97 | 11478.21 | 11.4782 | 150 | 6.4
[8 empty] | 320.06 | 10695.16 | 10.6952 | 151 | 6.4
[8 empty] | 322.16 | 10078.65 | 10.0786 | 152 | 6.3
[8 empty] | 324.26 | 10917.83 | 10.9178 | 153 | 6.2
[8 empty] | 326.36 | 10665.13 | 10.6651 | 154 | 6.1
[8 empty] | 328.46 | 10541.48 | 10.5415 | 155 | 6
[8 empty] | 330.57 | 10768.57 | 10.7686 | 156 | 5.9
[8 empty] | 332.69 | 10565.23 | 10.5652 | 157 | 5.9
[8 empty] | 334.8 | 10171.36 | 10.1714 | 158 | 5.9
[8 empty] | 336.92 | 9401.14 | 9.4011 | 159 | 5.7
[8 empty] | 339.03 | 9046.92 | 9.0469 | 160 | 5.7
[8 empty] | 341.12 | 9789.8 | 9.7898 | 161 | 5.7
[8 empty] | 343.23 | 10208.4 | 10.2084 | 162 | 5.5
[8 empty] | 345.34 | 9420.52 | 9.4205 | 163 | 5.3
[8 empty] | 347.45 | 9193.37 | 9.1934 | 164 | 5.1
[8 empty] | 349.54 | 8839.97 | 8.84 | 165 | 5
[8 empty] | 351.66 | 8579.62 | 8.5796 | 166 | 5
[8 empty] | 353.8 | 8843.54 | 8.8435 | 167 | 5
[8 empty] | 355.9 | 8148.75 | 8.1487 | 168 | 4.9
[8 empty] | 358 | 8134.93 | 8.1349 | 169 | 4.8
[8 empty] | 360.12 | 8277.09 | 8.2771 | 170 | 4.7
[8 empty] | 362.24 | 8179.11 | 8.1791 | 171 | 4.6
[8 empty] | 364.36 | 7748.11 | 7.7481 | 172 | 4.6
[8 empty] | 366.49 | 7707.5 | 7.7075 | 173 | 4.6
[8 empty] | 368.62 | 7299.06 | 7.2991 | 174 | 4.6
[8 empty] | 370.77 | 6839.75 | 6.8398 | 175 | 4.6
[8 empty] | 372.9 | 6297.98 | 6.298 | 176 | 4.4
[8 empty] | 375.05 | 5805.16 | 5.8052 | 177 | 4.3
[8 empty] | 377.17 | 5980.1 | 5.9801 | 178 | 4.1
[8 empty] | 379.35 | 6288.41 | 6.2884 | 179 | 3.9
[8 empty] | 381.48 | 5875.27 | 5.8753 | 180 | 3.7
[8 empty] | 383.62 | 5681.8 | 5.6818 | 181 | 3.6
[8 empty] | 385.8 | 5415.62 | 5.4156 | 182 | 3.5
[8 empty] | 387.94 | 5466.79 | 5.4668 | 183 | 3.5
[8 empty] | 390.08 | 5271.5 | 5.2715 | 184 | 3.5
[8 empty] | 392.22 | 5253.68 | 5.2537 | 185 | 3.4
[8 empty] | 394.32 | 5702.43 | 5.7024 | 186 | 3.3
[8 empty] | 396.4 | 6576.94 | 6.5769 | 187 | 3.2
[8 empty] | 398.51 | 6373.97 | 6.374 | 188 | 3.2
[8 empty] | 400.59 | 6616.89 | 6.6169 | 189 | 3.1
[8 empty] | 402.69 | 7838.09 | 7.8381 | 190 | 3.1
[8 empty] | 404.79 | 8534.9 | 8.5349 | 191 | 3.1
[8 empty] | 406.91 | 9729.92 | 9.7299 | 192 | 2.9
[8 empty] | 409 | 9965.14 | 9.9651 | 193 | 2.9
[8 empty] | 411.1 | 10988.64 | 10.9886 | 194 | 2.8
[8 empty] | 413.17 | 11801.67 | 11.8017 | 195 | 2.7
[8 empty] | 415.28 | 12813.41 | 12.8134 | 196 | 2.6
[8 empty] | 417.41 | 13148.7 | 13.1487 | 197 | 2.6
[8 empty] | 419.5 | 14493.61 | 14.4936 | 198 | 2.7
[8 empty] | 421.6 | 15488.47 | 15.4885 | 199 | 2.7
[8 empty] | 423.69 | 15720.4 | 15.7204 | 200 | 2.6
[8 empty] | 425.78 | 15456.32 | 15.4563 | 201 | 2.5
[8 empty] | 427.89 | 15460.46 | 15.4605 | 202 | 2.5
[8 empty] | 430.04 | 16244.29 | 16.2443 | 203 | 2.4
[8 empty] | 432.17 | 16354.47 | 16.3545 | 204 | 2.3
[8 empty] | 434.28 | 17375.33 | 17.3753 | 205 | 2.3
[8 empty] | 436.35 | 16857.83 | 16.8578 | 206 | 2.2
[8 empty] | 438.48 | 17381.05 | 17.381 | 207 | 2.1
[8 empty] | 440.59 | 17696.63 | 17.6966 | 208 | 2
[8 empty] | 442.69 | 17095.05 | 17.0951 | 209 | 2
[8 empty] | 444.82 | 17168.98 | 17.169 | 210 | 1.9
[8 empty] | 446.92 | 17724.33 | 17.7243 | 211 | 1.9
[8 empty] | 449.04 | 17897.94 | 17.8979 | 212 | 2
[8 empty] | 451.15 | 17341.27 | 17.3413 | 213 | 2
[8 empty] | 453.24 | 17379.67 | 17.3797 | 214 | 1.9
[8 empty] | 455.36 | 16358.54 | 16.3585 | 215 | 2
[8 empty] | 457.48 | 17089.17 | 17.0892 | 216 | 2.1
[8 empty] | 459.61 | 16395.12 | 16.3951 | 217 | 2.3
[8 empty] | 461.73 | 15004.61 | 15.0046 | 218 | 2.7
[8 empty] | 463.82 | 15593.03 | 15.593 | 219 | 3.5
[8 empty] | 465.94 | 14946.73 | 14.9467 | 220 | 4.1
[8 empty] | 468.07 | 14852.64 | 14.8526 | 221 | 4.6
[8 empty] | 470.17 | 14862.8 | 14.8628 | 222 | 5.2
[8 empty] | 472.26 | 15376.44 | 15.3764 | 223 | 6
[8 empty] | 474.37 | 15470.17 | 15.4702 | 224 | 7.9
[8 empty] | 476.49 | 15571.08 | 15.5711 | 225 | 8.9
[8 empty] | 478.57 | 14963.87 | 14.9639 | 226 | 9.9
[8 empty] | 480.67 | 14767.25 | 14.7673 | 227 | 11.2
[8 empty] | 482.81 | 15521.46 | 15.5215 | 228 | 11.6
[8 empty] | 484.93 | 15171.81 | 15.1718 | 229 | 12.4
[8 empty] | 487.05 | 14644.18 | 14.6442 | 230 | 13.5
[8 empty] | 489.14 | 14284.06 | 14.2841 | 231 | 15.7
[8 empty] | 491.23 | 14233.28 | 14.2333 | 232 | 16.6
[8 empty] | 493.33 | 13701.34 | 13.7013 | 233 | 17.5
[8 empty] | 495.44 | 14076.39 | 14.0764 | 234 | 18.4
[8 empty] | 497.56 | 13687.11 | 13.6871 | 235 | 19.1
[8 empty] | 499.65 | 13989.41 | 13.9894 | 236 | 20.3
[8 empty] | 501.77 | 13429.13 | 13.4291 | 237 | 20.9
[8 empty] | 503.88 | 13020.46 | 13.0205 | 238 | 21.5
[8 empty] | 505.99 | 12962.8 | 12.9628 | 239 | 21.8
[8 empty] | 508.11 | 12867.44 | 12.8674 | 240 | 21.6
[8 empty] | 510.23 | 12635.21 | 12.6352 | 241 | 21.5
[8 empty] | 512.33 | 11989.01 | 11.989 | 242 | 21.3
[8 empty] | 514.43 | 12156.03 | 12.156 | 243 | 21.1
[8 empty] | 516.52 | 11013.23 | 11.0132 | 244 | 21.3
[8 empty] | 518.63 | 11229.06 | 11.2291 | 245 | 21.4
[8 empty] | 520.74 | 10644.82 | 10.6448 | 246 | 21.5
[8 empty] | 522.86 | 10624.81 | 10.6248 | 247 | 21.3
[8 empty] | 524.98 | 11206.84 | 11.2068 | 248 | 20.3
[8 empty] | 527.11 | 10316.68 | 10.3167 | 249 | 19.8
[8 empty] | 529.22 | 10926.57 | 10.9266 | 250 | 19.2
[8 empty] | 531.33 | 10580.78 | 10.5808 | 251 | 18.6
[8 empty] | 533.46 | 10496.12 | 10.4961 | 252 | 17.2
[8 empty] | 535.58 | 9978.55 | 9.9785 | 253 | 16.5
[8 empty] | 537.7 | 9805.42 | 9.8054 | 254 | 15.8
[8 empty] | 539.83 | 9010.02 | 9.01 | 255 | 14.7
[8 empty] | 541.96 | 8414.02 | 8.414 | 256 | 14.3
[8 empty] | 544.09 | 8531.38 | 8.5314 | 257 | 14.2
[8 empty] | 546.2 | 7467.34 | 7.4673 | 258 | 13.9
[8 empty] | 548.34 | 7402.88 | 7.4029 | 259 | 13.7
[8 empty] | 550.47 | 6957.41 | 6.9574 | 260 | 13.5
[8 empty] | 552.58 | 7294.05 | 7.2941 | 261 | 13.6
[8 empty] | 554.71 | 7029.91 | 7.0299 | 262 | 13.5
[8 empty] | 556.83 | 6960.16 | 6.9602 | 263 | 13.4
[8 empty] | 558.96 | 7269.39 | 7.2694 | 264 | 13
[8 empty] | 561.08 | 7421.98 | 7.422 | 265 | 13
[8 empty] | 563.24 | 7180.33 | 7.1803 | 266 | 13
[8 empty] | 565.35 | 6981.96 | 6.982 | 267 | 13
[8 empty] | 567.48 | 7429.42 | 7.4294 | 268 | 12.9
[8 empty] | 569.61 | 7252.49 | 7.2525 | 269 | 12.9
[8 empty] | 571.77 | 6999.09 | 6.9991 | 270 | 13
[8 empty] | 573.92 | 6299.15 | 6.2992 | 271 | 13
[8 empty] | 576.06 | 5986.29 | 5.9863 | 272 | 12.8
[8 empty] | 578.21 | 6487.48 | 6.4875 | 273 | 12.5
[8 empty] | 580.33 | 6277.55 | 6.2775 | 274 | 12.3
[8 empty] | 582.49 | 6608.47 | 6.6085 | 275 | 12.2
[8 empty] | 584.67 | 6872.01 | 6.872 | 276 | 12
[8 empty] | 586.84 | 6861.46 | 6.8615 | 277 | 11.8
[8 empty] | 589 | 6003.06 | 6.0031 | 278 | 11.7
[8 empty] | 591.13 | 6200.96 | 6.201 | 279 | 11.7
[8 empty] | 593.31 | 6030.71 | 6.0307 | 280 | 11.4
[8 empty] | 595.48 | 6301.23 | 6.3012 | 281 | 11.2
[8 empty] | 597.63 | 6538.56 | 6.5386 | 282 | 11.1
[8 empty] | 599.81 | 6025.57 | 6.0256 | 283 | 11
[8 empty] | 601.97 | 6163.57 | 6.1636 | 284 | 10.7
[8 empty] | 604.15 | 5751.57 | 5.7516 | 285 | 10.4
[8 empty] | 606.33 | 5617.92 | 5.6179 | 286 | 10.1
[8 empty] | 608.49 | 5530.46 | 5.5305 | 287 | 9.9
[8 empty] | 610.66 | 5529.13 | 5.5291 | 288 | 9.7
[8 empty] | 612.84 | 5278.52 | 5.2785 | 289 | 9.6
[8 empty] | 615.02 | 5169.11 | 5.1691 | 290 | 9.5
[8 empty] | 617.2 | 5055.91 | 5.0559 | 291 | 9.4
[8 empty] | 619.38 | 5340.59 | 5.3406 | 292 | 9.3
[8 empty] | 621.56 | 5273.04 | 5.273 | 293 | 9.2
[8 empty] | 623.74 | 4633.25 | 4.6333 | 294 | 9.1
[8 empty] | 625.91 | 4868.86 | 4.8689 | 295 | 8.9
[8 empty] | 628.09 | 4733.89 | 4.7339 | 296 | 8.7
[8 empty] | 630.27 | 4792.83 | 4.7928 | 297 | 8.7
[8 empty] | 632.45 | 4760.83 | 4.7608 | 298 | 8.7
[8 empty] | 634.63 | 4754.44 | 4.7544 | 299 | 8.7
[8 empty] | 636.81 | 4741.19 | 4.7412 | 300 | 8.7
[8 empty] | 638.99 | 4593.97 | 4.594 | 301 | 8.6
[8 empty] | 641.16 | 4214.12 | 4.2141 | 302 | 8.4
[8 empty] | 643.34 | 3942.14 | 3.9421 | 303 | 8.3
[8 empty] | 645.52 | 3931.06 | 3.9311 | 304 | 8.2
[8 empty] | 647.7 | 3695.95 | 3.6959 | 305 | 8.1
[8 empty] | 649.88 | 3399.89 | 3.3999 | 306 | 8
[8 empty] | 652.06 | 2955.47 | 2.9555 | 307 | 7.8
[8 empty] | 654.24 | 3113.81 | 3.1138 | 308 | 7.4
[8 empty] | 656.41 | 2870.63 | 2.8706 | 309 | 7.3
[8 empty] | 658.59 | 4086.68 | 4.0867 | 310 | 7.1
[8 empty] | 660.77 | 3863.95 | 3.8639 | 311 | 6.9
[8 empty] | 662.95 | 3873.58 | 3.8736 | 312 | 6.7
[8 empty] | 665.13 | 4510.12 | 4.5101 | 313 | 6.6
[8 empty] | 667.3 | 4288.98 | 4.289 | 314 | 6.6
[8 empty] | 669.48 | 4206.12 | 4.2061 | 315 | 6.5
[8 empty] | 671.66 | 4393.41 | 4.3934 | 316 | 6.4
[8 empty] | 673.84 | 4390.21 | 4.3902 | 317 | 6.3
[8 empty] | 676.02 | 4228.19 | 4.2282 | 318 | 6.3
[8 empty] | 678.2 | 4163.06 | 4.1631 | 319 | 6.3
[8 empty] | 680.38 | 2915.69 | 2.9157 | 320 | 6.3
[8 empty] | 682.55 | 3098.59 | 3.0986 | 321 | 6.2
[8 empty] | 684.73 | 2707.06 | 2.7071 | 322 | 6
[8 empty] | 686.91 | 1901.17 | 1.9012 | 323 | 5.9
[8 empty] | 689.09 | 2114.02 | 2.114 | 324 | 5.9
[8 empty] | 691.26 | 2318.59 | 2.3186 | 325 | 5.8
[8 empty] | 693.44 | 2386.89 | 2.3869 | 326 | 5.8
[8 empty] | 695.62 | 2571.7 | 2.5717 | 327 | 5.7
[8 empty] | 697.8 | 2547.61 | 2.5476 | 328 | 5.5
[8 empty] | 699.97 | 2587.12 | 2.5871 | 329 | 5.4
[8 empty] | 702.15 | 2663.77 | 2.6638 | 330 | 5.3
[8 empty] | 704.33 | 2453.51 | 2.4535 | 331 | 5.2
[8 empty] | 706.5 | 2567.38 | 2.5674 | 332 | 5
[8 empty] | 708.68 | 2683.62 | 2.6836 | 333 | 4.9
[8 empty] | 710.86 | 2438.03 | 2.438 | 334 | 4.9
[8 empty] | 713.03 | 2272.19 | 2.2722 | 335 | 4.8
[8 empty] | 715.21 | 2039.51 | 2.0395 | 336 | 4.4
[8 empty] | 717.39 | 1971.95 | 1.972 | 337 | 4.3
[8 empty] | 719.57 | 1960.46 | 1.9605 | 338 | 4.3
[8 empty] | 721.74 | 1943.47 | 1.9435 | 339 | 4.3
[8 empty] | 723.92 | 1858.81 | 1.8588 | 340 | 4.2
[8 empty] | 726.09 | 1786.64 | 1.7866 | 341 | 4.1
[8 empty] | 728.27 | 1590.01 | 1.59 | 342 | 4
[8 empty] | 730.45 | 1447.96 | 1.448 | 343 | 4
[8 empty] | 732.63 | 1455.47 | 1.4555 | 344 | 3.9
[8 empty] | 734.8 | 1390.15 | 1.3901 | 345 | 3.9
[8 empty] | 736.98 | 1615.85 | 1.6159 | 346 | 3.9
[8 empty] | 739.16 | 1593.4 | 1.5934 | 347 | 4
[8 empty] | 741.33 | 1588.11 | 1.5881 | 348 | 3.7
[8 empty] | 743.51 | 1528.42 | 1.5284 | 349 | 3.6
[8 empty] | 745.68 | 1318.19 | 1.3182 | 350 | 3.4
[8 empty] | 747.86 | 1513.13 | 1.5131 | 351 | 3.4
[8 empty] | 750.03 | 1487.85 | 1.4878 | 352 | 3.2
[8 empty] | 752.21 | 1892.63 | 1.8926 | 353 | 3.2
[8 empty] | 754.39 | 1946.01 | 1.946 | 354 | 3.1
[8 empty] | 756.56 | 1998.29 | 1.9983 | 355 | 3.1
[8 empty] | 758.74 | 1758.7 | 1.7587 | 356 | 2.9
[8 empty] | 760.91 | 1764.22 | 1.7642 | 357 | 2.9
[8 empty] | 763.09 | 1757.98 | 1.758 | 358 | 2.8
[8 empty] | 765.26 | 1738.7 | 1.7387 | 359 | 2.8
[8 empty] | 767.44 | 1944.83 | 1.9448 | 360 | 2.8
[8 empty] | 769.61 | 1944.85 | 1.9448 | 361 | 2.8
[8 empty] | 771.79 | 2027.49 | 2.0275 | 362 | 2.8
[8 empty] | 773.96 | 1534.67 | 1.5347 | 363 | 2.8
[8 empty] | 776.14 | 1524.15 | 1.5242 | 364 | 2.7
[8 empty] | 778.31 | 1299.55 | 1.2995 | 365 | 2.7
[8 empty] | 780.49 | 1445.9 | 1.4459 | 366 | 2.7
[8 empty] | 782.66 | 1508.28 | 1.5083 | 367 | 2.6
[8 empty] | 784.84 | 1422.51 | 1.4225 | 368 | 2.4
[8 empty] | 787.01 | 1428.4 | 1.4284 | 369 | 2.3
[8 empty] | 789.19 | 1210.69 | 1.2107 | 370 | 2.3
[8 empty] | 791.36 | 981.83 | 0.98183 | 371 | 2.3
[8 empty] | 793.53 | 908.47 | 0.90847 | 372 | 2.1
[8 empty] | 795.71 | 1127.18 | 1.1272 | 373 | 1.9
[8 empty] | 797.88 | 1064.31 | 1.0643 | 374 | 1.8
[8 empty] | 800.06 | 1005.28 | 1.0053 | 375 | 1.7
[8 empty] | 802.23 | 863.89 | 0.86389 | 376 | 1.7
[8 empty] | 804.4 | 566.4 | 0.5664 | 377 | 1.8
[8 empty] | 806.58 | 655.68 | 0.65568 | 378 | 1.8
[8 empty] | 808.75 | 639.8 | 0.6398 | 379 | 1.8
[8 empty] | 810.92 | 624.46 | 0.62446 | 380 | 1.7
[8 empty] | 813.1 | 619.89 | 0.61989 | 381 | 1.6
[8 empty] | 815.27 | 602.81 | 0.60281 | 382 | 1.5
[8 empty] | 817.45 | 443.49 | 0.44349 | 383 | 1.4
[8 empty] | 819.62 | 503.77 | 0.50377 | 384 | 1.3
[8 empty] | 821.79 | 710.64 | 0.71064 | 385 | 1.3
[8 empty] | 823.96 | 625.01 | 0.62501 | 386 | 1.3
[8 empty] | 826.14 | 619.8 | 0.6198 | 387 | 1.2
[8 empty] | 828.31 | 527.36 | 0.52736 | 388 | 1.1
[8 empty] | 830.48 | 528.78 | 0.52878 | 389 | 1.1
[8 empty] | 832.66 | 530.4 | 0.5304 | 390 | 1.1
[8 empty] | 834.83 | 748.57 | 0.74857 | 391 | 1.1
[8 empty] | 837.01 | 821.22 | 0.82122 | 392 | 1.5
[8 empty] | 839.18 | 744.96 | 0.74496 | 393 | 2.2
[8 empty] | 841.35 | 747.86 | 0.74786 | 394 | 3
[8 empty] | 843.53 | 523.19 | 0.52319 | 395 | 3.9
[8 empty] | 845.7 | 593.84 | 0.59384 | 396 | 5.7
[8 empty] | 847.87 | 811.39 | 0.81139 | 397 | 6.3
[8 empty] | 850.04 | 808.4 | 0.8084 | 398 | 6.8
[8 empty] | 852.22 | 875.7 | 0.8757 | 399 | 7.1
[8 empty] | 854.39 | 879.75 | 0.87975 | 400 | 8
[8 empty] | 856.56 | 737.2 | 0.7372 | 401 | 8.3
[8 empty] | 858.73 | 726.74 | 0.72674 | 402 | 8.8
[8 empty] | 860.91 | 722.63 | 0.72263 | 403 | 9.3
[8 empty] | 863.08 | 645.12 | 0.64512 | 404 | 9.9
[8 empty] | 865.25 | 637.82 | 0.63782 | 405 | 10.2
[8 empty] | 867.42 | 560.16 | 0.56016 | 406 | 10.5
[8 empty] | 869.59 | 344.1 | 0.3441 | 407 | 11
[8 empty] | 871.76 | 340.65 | 0.34065 | 408 | 12.3
[8 empty] | 873.94 | 268.63 | 0.26863 | 409 | 12.8
[8 empty] | 876.11 | 257.41 | 0.25741 | 410 | 13.2
[8 empty] | 878.28 | 180.56 | 0.18056 | 411 | 13.6
[8 empty] | 880.45 | 106.36 | 0.10636 | 412 | 13.9
[8 empty] | 882.62 | 181.91 | 0.18191 | 413 | 14
[8 empty] | 884.79 | 186.23 | 0.18623 | 414 | 14.2
[8 empty] | 886.97 | 184.39 | 0.18439 | 415 | 14.5
[8 empty] | 889.14 | 189.03 | 0.18903 | 416 | 15
[8 empty] | 891.31 | 184.87 | 0.18487 | 417 | 15.1
[8 empty] | 893.48 | 188.6 | 0.1886 | 418 | 15
[8 empty] | 895.65 | 185.32 | 0.18532 | 419 | 15
[8 empty] | 897.82 | 397.13 | 0.39713 | 420 | 15.3
[8 empty] | 900 | 470.89 | 0.47089 | 421 | 15.9
[8 empty] | 902.17 | 469.09 | 0.46909 | 422 | 16.7
[8 empty] | 904.34 | 389.51 | 0.38951 | 423 | 17.5
[8 empty] | 906.51 | 388.32 | 0.38832 | 424 | 19.6
[8 empty] | 908.68 | 388.45 | 0.38845 | 425 | 21
[8 empty] | 910.85 | 385.9 | 0.3859 | 426 | 22.2
[8 empty] | 913.03 | 453.28 | 0.45328 | 427 | 22.9
[8 empty] | 915.2 | 449.4 | 0.4494 | 428 | 23.6
[8 empty] | 917.37 | 442.71 | 0.44271 | 429 | 23.6
[8 empty] | 919.54 | 223.93 | 0.22393 | 430 | 23.7
[8 empty] | 921.71 | 212.78 | 0.21278 | 431 | 23.6
[8 empty] | 923.88 | 209.05 | 0.20905 | 432 | 23.9
[8 empty] | 926.05 | 210.13 | 0.21013 | 433 | 24.2
[8 empty] | 928.22 | 202.04 | 0.20204 | 434 | 24.4
[8 empty] | 930.39 | 201.32 | 0.20132 | 435 | 24.8
[8 empty] | 932.56 | 195.68 | 0.19568 | 436 | 24.9
[8 empty] | 934.73 | 121.9 | 0.1219 | 437 | 24.7
[8 empty] | 936.9 | 118.04 | 0.11804 | 438 | 24.3
[8 empty] | 939.07 | 119.68 | 0.11968 | 439 | 23.8
[8 empty] | 941.24 | 125.61 | 0.12561 | 440 | 22.8
[8 empty] | 943.41 | 56.3 | 0.0563 | 441 | 22.4
[8 empty] | 945.59 | 133.49 | 0.13349 | 442 | 21.9
[8 empty] | 947.76 | 135.42 | 0.13542 | 443 | 21.4
[8 empty] | 949.93 | 133.08 | 0.13308 | 444 | 20.9
[8 empty] | 952.1 | 129.76 | 0.12976 | 445 | 20.6
[8 empty] | 954.27 | 206.96 | 0.20696 | 446 | 20.4
[8 empty] | 956.44 | 211.82 | 0.21182 | 447 | 20
[8 empty] | 958.61 | 213.62 | 0.21362 | 448 | 19.2
[8 empty] | 960.78 | 214.05 | 0.21405 | 449 | 18.9
[8 empty] | 962.95 | 205.11 | 0.20511 | 450 | 18.5
[8 empty] | 965.12 | 209.52 | 0.20952 | 451 | 18.2
[8 empty] | 967.29 | 133.61 | 0.13361 | 452 | 17.9
[8 empty] | 969.46 | 132.77 | 0.13277 | 453 | 17.8
[8 empty] | 971.63 | 133.82 | 0.13382 | 454 | 17.5
[8 empty] | 973.8 | 133.27 | 0.13327 | 455 | 17.3
[8 empty] | 975.97 | 54.03 | 0.05403 | 456 | 17.2
[8 empty] | 978.14 | 117.49 | 0.11749 | 457 | 17.3
[8 empty] | 980.32 | 113.74 | 0.11374 | 458 | 17.4
[8 empty] | 982.48 | 110.82 | 0.11082 | 459 | 17.3
[8 empty] | 984.66 | 111.51 | 0.11151 | 460 | 16.8
[8 empty] | 986.83 | 107.81 | 0.10781 | 461 | 16.6
[8 empty] | 989 | 110.77 | 0.11077 | 462 | 16.4
[8 empty] | 991.17 | 114.06 | 0.11406 | 463 | 16.2
[8 empty] | 993.34 | 181.57 | 0.18157 | 464 | 15.8
[8 empty] | 995.51 | 181.18 | 0.18118 | 465 | 15.8
[8 empty] | 997.68 | 180.5 | 0.1805 | 466 | 15.7
[8 empty] | 999.85 | 108.76 | 0.10876 | 467 | 15.6
[8 empty] | 1002.02 | 325.41 | 0.32541 | 468 | 15.5
[8 empty] | 1004.19 | 328.02 | 0.32802 | 469 | 15.4
[8 empty] | 1006.36 | 328.05 | 0.32805 | 470 | 15.3
[8 empty] | 1008.53 | 327.96 | 0.32796 | 471 | 15.2
[8 empty] | 1010.7 | 323.06 | 0.32306 | 472 | 15.2
[8 empty] | 1012.87 | 317.44 | 0.31744 | 473 | 15.1
[8 empty] | 1015.04 | 245.14 | 0.24514 | 474 | 15
[8 empty] | 1017.21 | 248.21 | 0.24821 | 475 | 14.8
[8 empty] | 1019.38 | 247.93 | 0.24793 | 476 | 14.5
[8 empty] | 1021.55 | 248.51 | 0.24851 | 477 | 14.4
[8 empty] | 1023.72 | 30.41 | 0.03041 | 478 | 14.2
[8 empty] | 1025.89 | 29.05 | 0.02905 | 479 | 14.1
[8 empty] | 1028.06 | 100.57 | 0.10057 | 480 | 13.5
[8 empty] | 1030.23 | 96.64 | 0.09664 | 481 | 13.3
[8 empty] | 1032.4 | 98.39 | 0.09839 | 482 | 13
[8 empty] | 1034.57 | 97.14 | 0.09714 | 483 | 12.7
[8 empty] | 1036.74 | 97.78 | 0.09778 | 484 | 12.3
[8 empty] | 1038.91 | 93.39 | 0.09339 | 485 | 12.2
[8 empty] | 1041.08 | 96.76 | 0.09676 | 486 | 12.1
[8 empty] | 1043.25 | 98.64 | 0.09864 | 487 | 12
[8 empty] | 1045.42 | 99.83 | 0.09983 | 488 | 11.9
[8 empty] | 1047.59 | 100.98 | 0.10098 | 489 | 11.7
[8 empty] | 1049.76 | 32.34 | 0.03234 | 490 | 11.7
[8 empty] | 1051.93 | 32.75 | 0.03275 | 491 | 11.7
[8 empty] | 1054.1 | 29.42 | 0.02942 | 492 | 11.5
[8 empty] | 1056.27 | 29.36 | 0.02936 | 493 | 11.5
[8 empty] | 1058.44 | 29.13 | 0.02913 | 494 | 11.4
[8 empty] | 1060.61 | 32.05 | 0.03205 | 495 | 11.2
[8 empty] | 1062.78 | 31.22 | 0.03122 | 496 | 10.7
[8 empty] | 1064.95 | 27.93 | 0.02793 | 497 | 10.6
[8 empty] | 1067.12 | 26.67 | 0.02667 | 498 | 10.6
[8 empty] | 1069.29 | 26.78 | 0.02678 | 499 | 10.6
[8 empty] | 1071.46 | 24.89 | 0.02489 | 500 | 10.5
[8 empty] | 1073.63 | 23.81 | 0.02381 | 501 | 10.4
[8 empty] | 1075.8 | 28.5 | 0.0285 | 502 | 10.2
[8 empty] | 1077.97 | 101.14 | 0.10114 | 503 | 10
[8 empty] | 1080.14 | 103.78 | 0.10378 | 504 | 9.7
[8 empty] | 1082.3 | 100.34 | 0.10034 | 505 | 9.6
[8 empty] | 1084.47 | 100.68 | 0.10068 | 506 | 9.4
[8 empty] | 1086.64 | 100.89 | 0.10089 | 507 | 9.3
[8 empty] | 1088.81 | 101.13 | 0.10113 | 508 | 9.1
[8 empty] | 1090.98 | 98.73 | 0.09873 | 509 | 8.9
[8 empty] | 1093.15 | 95.52 | 0.09552 | 510 | 8.9
[8 empty] | 1095.32 | 95.71 | 0.09571 | 511 | 8.9
[8 empty] | 1097.49 | 91.09 | 0.09109 | 512 | 8.6
[8 empty] | 1099.66 | 19.17 | 0.01917 | 513 | 8.5
[8 empty] | 1101.83 | 15.27 | 0.01527 | 514 | 8.4
[8 empty] | 1104 | 19.61 | 0.01961 | 515 | 8.2
[8 empty] | 1106.17 | 16.35 | 0.01635 | 516 | 7.9
[8 empty] | 1108.34 | 15.84 | 0.01584 | 517 | 7.9
[8 empty] | 1110.51 | 15.5 | 0.0155 | 518 | 7.8
[8 empty] | 1112.68 | 13.27 | 0.01327 | 519 | 7.7
[8 empty] | 1114.85 | 14.59 | 0.01459 | 520 | 7.5
[8 empty] | 1117.02 | 14.25 | 0.01425 | 521 | 7.5
[8 empty] | 1119.18 | 15.69 | 0.01569 | 522 | 7.5
[8 empty] | 1121.35 | 15.37 | 0.01537 | 523 | 7.3
[8 empty] | 1123.52 | 86.63 | 0.08663 | 524 | 7.3
[8 empty] | 1125.69 | 82.32 | 0.08232 | 525 | 7.2
[8 empty] | 1127.86 | 81.61 | 0.08161 | 526 | 7.2
[8 empty] | 1130.03 | 83 | 0.083 | 527 | 7
[8 empty] | 1132.2 | 82.9 | 0.0829 | 528 | 6.7
[8 empty] | 1134.37 | 84.11 | 0.08411 | 529 | 6.6
[8 empty] | 1136.54 | 83.74 | 0.08374 | 530 | 6.4
[8 empty] | 1138.71 | 84.82 | 0.08482 | 531 | 6.3
[8 empty] | 1140.88 | 82.99 | 0.08299 | 532 | 6.1
[8 empty] | 1143.05 | 84.92 | 0.08492 | 533 | 6.2
[8 empty] | 1145.22 | 15.37 | 0.01537 | 534 | 6.2
[8 empty] | 1147.39 | 15.18 | 0.01518 | 535 | 6
[8 empty] | 1149.56 | 89.24 | 0.08924 | 536 | 6
[8 empty] | 1151.72 | 88.43 | 0.08843 | 537 | 6
[8 empty] | 1153.89 | 89.85 | 0.08985 | 538 | 5.9
[8 empty] | 1156.06 | 91.68 | 0.09168 | 539 | 5.9
[8 empty] | 1158.23 | 90.7 | 0.0907 | 540 | 5.8
[8 empty] | 1160.4 | 89.4 | 0.0894 | 541 | 5.8
[8 empty] | 1162.57 | 89.44 | 0.08944 | 542 | 5.8
[8 empty] | 1164.74 | 89.03 | 0.08903 | 543 | 5.8
[8 empty] | 1166.91 | 87.24 | 0.08724 | 544 | 5.6
[8 empty] | 1169.08 | 87.54 | 0.08754 | 545 | 5.5
[8 empty] | 1171.25 | 13.3 | 0.0133 | 546 | 5.4
[8 empty] | 1173.42 | 12.42 | 0.01242 | 547 | 5.4
[8 empty] | 1175.59 | 14.15 | 0.01415 | 548 | 5.2
[8 empty] | 1177.76 | 10.81 | 0.01081 | 549 | 5.1
[8 empty] | 1179.93 | 10.31 | 0.01031 | 550 | 5
[8 empty] | 1182.09 | 10.52 | 0.01052 | 551 | 4.9
[8 empty] | 1184.26 | 10.23 | 0.01023 | 552 | 4.7
[8 empty] | 1186.43 | 7.23 | 0.00723 | 553 | 4.6
[8 empty] | 1188.6 | 7.28 | 0.00728 | 554 | 4.5
[8 empty] | 1190.77 | 8.1 | 0.0081 | 555 | 4.3
[8 empty] | 1192.94 | 8.23 | 0.00823 | 556 | 4.2
[8 empty] | 1195.11 | 8.12 | 0.00812 | 557 | 4.1
[8 empty] | 1197.28 | 6.43 | 0.00643 | 558 | 4
[8 empty] | 1199.45 | 6.51 | 0.00651 | 559 | 3.9
[8 empty] | 1201.62 | 6.55 | 0.00655 | 560 | 3.9
[8 empty] | 1203.79 | 7.42 | 0.00742 | 561 | 3.8
[8 empty] | 1205.95 | 8.38 | 0.00838 | 562 | 3.8
[8 empty] | 1208.12 | 7.98 | 0.00798 | 563 | 3.7
[8 empty] | 1210.29 | 8.15 | 0.00815 | 564 | 3.6
[8 empty] | 1212.46 | 7.08 | 0.00708 | 565 | 3.6
[8 empty] | 1214.63 | 7.91 | 0.00791 | 566 | 3.5
[8 empty] | 1216.8 | 9.6 | 0.0096 | 567 | 3.3
[8 empty] | 1218.97 | 7.85 | 0.00785 | 568 | 3.2
[8 empty] | 1221.14 | 7.52 | 0.00752 | 569 | 3.1
[11 empty] | 570 | 3.1
[11 empty] | 571 | 3
[11 empty] | 572 | 3
[11 empty] | 573 | 3
[11 empty] | 574 | 2.9
[11 empty] | 575 | 2.8
[11 empty] | 576 | 2.7
[11 empty] | 577 | 2.8
[11 empty] | 578 | 2.8
[11 empty] | 579 | 2.7
[11 empty] | 580 | 2.6
[11 empty] | 581 | 2.6
[11 empty] | 582 | 2.5
[11 empty] | 583 | 2.4
[11 empty] | 584 | 2.3
[11 empty] | 585 | 2.3
[11 empty] | 586 | 2.2
[11 empty] | 587 | 2.1
[11 empty] | 588 | 2.1
[11 empty] | 589 | 1.9
[11 empty] | 590 | 1.7
[11 empty] | 591 | 1.8
[11 empty] | 592 | 2
[11 empty] | 593 | 2
[11 empty] | 594 | 1.9
[11 empty] | 595 | 1.7
[11 empty] | 596 | 1.6
[11 empty] | 597 | 1.5
[11 empty] | 598 | 1.5
[11 empty] | 599 | 1.4
[11 empty] | 600 | 1.3
[11 empty] | 601 | 1.2
[11 empty] | 602 | 1.2
[11 empty] | 603 | 0.9
[11 empty] | 604 | 0.9
[11 empty] | 605 | 0.9
[11 empty] | 606 | 1
[11 empty] | 607 | 1.1
[11 empty] | 608 | 1
[11 empty] | 609 | 1
[11 empty] | 610 | 1.1
[11 empty] | 611 | 1.2
[11 empty] | 612 | 1.1
[11 empty] | 613 | 1
[11 empty] | 614 | 1
[11 empty] | 615 | 0.9
[11 empty] | 616 | 0.9
[11 empty] | 617 | 0.8
[11 empty] | 618 | 0.7
[11 empty] | 619 | 0.6
[11 empty] | 620 | 0.5
[11 empty] | 621 | 0.5
[11 empty] | 622 | 0.4
[11 empty] | 623 | 0.3
[11 empty] | 624 | 0.3
[11 empty] | 625 | 0.3
[11 empty] | 626 | 0.3
[11 empty] | 627 | 0.3
[11 empty] | 628 | 0.3
[11 empty] | 629 | 0.2
[11 empty] | 630 | 0.2
[11 empty] | 631 | 0.2
[11 empty] | 632 | 0.2
[11 empty] | 633 | 0.1
[11 empty] | 634 | 0.1
[11 empty] | 635 | 0
[11 empty] | 636 | 0
[11 empty] | 637 | 0
[11 empty] | 638 | 0
[11 empty] | 639 | 0
[11 empty] | 640 | 0
[11 empty] | 641 | 0
[11 empty] | 642 | 0
[11 empty] | 643 | 0
[11 empty] | 644 | 0
[11 empty] | 645 | 0
[11 empty] | 646 | 0
[11 empty] | 647 | 0
[11 empty] | 648 | 0
[11 empty] | 649 | 0
[11 empty] | 650 | 0
[11 empty] | 651 | 0
[11 empty] | 652 | 0
[11 empty] | 653 | 0
[11 empty] | 654 | 0
[11 empty] | 655 | 0
[11 empty] | 656 | 0
[11 empty] | 657 | 0
[11 empty] | 658 | 0
[11 empty] | 659 | 0
[11 empty] | 660 | 0
[11 empty] | 661 | 0
[11 empty] | 662 | 0
[11 empty] | 663 | 0
[11 empty] | 664 | 0
[11 empty] | 665 | 0
[11 empty] | 666 | 0
[11 empty] | 667 | 0
[11 empty] | 668 | 0
[11 empty] | 669 | 0
[11 empty] | 670 | 0
[11 empty] | 671 | 0
[11 empty] | 672 | 0
[11 empty] | 673 | 0
[11 empty] | 674 | 0
[11 empty] | 675 | 0
[11 empty] | 676 | 0
[11 empty] | 677 | 0
[11 empty] | 678 | 0
[11 empty] | 679 | 0
[11 empty] | 680 | 0
[11 empty] | 681 | 0
[11 empty] | 682 | 0
[11 empty] | 683 | 0
[11 empty] | 684 | 0
[11 empty] | 685 | 0
[11 empty] | 686 | 0
[11 empty] | 687 | 0
[11 empty] | 688 | 0
[11 empty] | 689 | 0
[11 empty] | 690 | 0
[11 empty] | 691 | 0
[11 empty] | 692 | 0
[11 empty] | 693 | 0
[11 empty] | 694 | 0
[11 empty] | 695 | 0
[11 empty] | 696 | 0
[11 empty] | 697 | 0
[11 empty] | 698 | 0
[11 empty] | 699 | 0
[11 empty] | 700 | 0
[11 empty] | 701 | 0
[11 empty] | 702 | 0
[11 empty] | 703 | 0
[11 empty] | 704 | 0
[11 empty] | 705 | 0
[11 empty] | 706 | 0
[11 empty] | 707 | 0
[11 empty] | 708 | 0
[11 empty] | 709 | 0
[11 empty] | 710 | 0
[11 empty] | 711 | 0
[11 empty] | 712 | 0
[11 empty] | 713 | 0
[11 empty] | 714 | 0
[11 empty] | 715 | 0
[11 empty] | 716 | 0
[11 empty] | 717 | 0
[11 empty] | 718 | 0
[11 empty] | 719 | 0
[11 empty] | 720 | 0
[11 empty] | 721 | 0
[11 empty] | 722 | 0
[11 empty] | 723 | 0
[11 empty] | 724 | 0
[11 empty] | 725 | 0
[11 empty] | 726 | 0
[11 empty] | 727 | 0
[11 empty] | 728 | 0
[11 empty] | 729 | 0
[11 empty] | 730 | 0
[11 empty] | 731 | 0
[11 empty] | 732 | 0
[11 empty] | 733 | 0
[11 empty] | 734 | 0
[11 empty] | 735 | 0
[11 empty] | 736 | 0
[11 empty] | 737 | 0
[11 empty] | 738 | 0
[11 empty] | 739 | 0
[11 empty] | 740 | 0
[11 empty] | 741 | 0
[11 empty] | 742 | 0
[11 empty] | 743 | 0
[11 empty] | 744 | 0
[11 empty] | 745 | 0
[11 empty] | 746 | 0
[11 empty] | 747 | 0
[11 empty] | 748 | 0
[11 empty] | 749 | 0
[11 empty] | 750 | 0
[11 empty] | 751 | 0
[11 empty] | 752 | 0
[11 empty] | 753 | 0
[11 empty] | 754 | 0
[11 empty] | 755 | 0
[11 empty] | 756 | 0
[11 empty] | 757 | 0
[11 empty] | 758 | 0
[11 empty] | 759 | 0
[11 empty] | 760 | 0
[11 empty] | 761 | 0
[11 empty] | 762 | 0
[11 empty] | 763 | 0
[11 empty] | 764 | 0
[11 empty] | 765 | 0
[11 empty] | 766 | 0
[11 empty] | 767 | 0
[11 empty] | 768 | 0
[11 empty] | 769 | 0
[11 empty] | 770 | 0
[11 empty] | 771 | 0
[11 empty] | 772 | 0
[11 empty] | 773 | 0
[11 empty] | 774 | 0
[11 empty] | 775 | 0
[11 empty] | 776 | 0
[11 empty] | 777 | 0
[11 empty] | 778 | 0
[11 empty] | 779 | 0
[11 empty] | 780 | 0
[11 empty] | 781 | 0
[11 empty] | 782 | 0
[11 empty] | 783 | 0
[11 empty] | 784 | 0
[11 empty] | 785 | 0
[11 empty] | 786 | 0
[11 empty] | 787 | 0
[11 empty] | 788 | 0
[11 empty] | 789 | 0
[11 empty] | 790 | 0
[11 empty] | 791 | 0
[11 empty] | 792 | 0
[11 empty] | 793 | 0
[11 empty] | 794 | 0
[11 empty] | 795 | 0
[11 empty] | 796 | 0
[11 empty] | 797 | 0
[11 empty] | 798 | 0
[11 empty] | 799 | 0
[11 empty] | 800 | 0
[11 empty] | 801 | 0
[11 empty] | 802 | 0
[11 empty] | 803 | 0
[11 empty] | 804 | 0
[11 empty] | 805 | 0
[11 empty] | 806 | 0
[11 empty] | 807 | 0
[11 empty] | 808 | 0
[11 empty] | 809 | 0
[11 empty] | 810 | 0
[11 empty] | 811 | 0
[11 empty] | 812 | 0
[11 empty] | 813 | 0
[11 empty] | 814 | 0
[11 empty] | 815 | 0
[11 empty] | 816 | 0
[11 empty] | 817 | 0
[11 empty] | 818 | 0
[11 empty] | 819 | 0
[11 empty] | 820 | 0
[11 empty] | 821 | 0
[11 empty] | 822 | 0
[11 empty] | 823 | 0
[11 empty] | 824 | 0
[11 empty] | 825 | 0
[11 empty] | 826 | 0
[11 empty] | 827 | 0
[11 empty] | 828 | 0
[11 empty] | 829 | 0
[11 empty] | 830 | 0
[11 empty] | 831 | 0
[11 empty] | 832 | 0
[11 empty] | 833 | 0
[11 empty] | 834 | 0
[11 empty] | 835 | 0
[11 empty] | 836 | 0
[11 empty] | 837 | 0
[11 empty] | 838 | 0
[11 empty] | 839 | 0
[11 empty] | 840 | 0
[11 empty] | 841 | 0
[11 empty] | 842 | 0
[11 empty] | 843 | 0
[11 empty] | 844 | 0
[11 empty] | 845 | 0
[11 empty] | 846 | 0
[11 empty] | 847 | 0
[11 empty] | 848 | 0
[11 empty] | 849 | 0
[11 empty] | 850 | 0
[11 empty] | 851 | 0
[11 empty] | 852 | 0
[11 empty] | 853 | 0
[11 empty] | 854 | 0
[11 empty] | 855 | 0
[11 empty] | 856 | 0
[11 empty] | 857 | 0
[11 empty] | 858 | 0
[11 empty] | 859 | 0
[11 empty] | 860 | 0
[11 empty] | 861 | 0
[11 empty] | 862 | 0
[11 empty] | 863 | 0
[11 empty] | 864 | 0
[11 empty] | 865 | 0
[11 empty] | 866 | 0
[11 empty] | 867 | 0
[11 empty] | 868 | 0
[11 empty] | 869 | 0
[11 empty] | 870 | 0
[11 empty] | 871 | 0
[11 empty] | 872 | 0
[11 empty] | 873 | 0
[11 empty] | 874 | 0
[11 empty] | 875 | 0
[11 empty] | 876 | 0
[11 empty] | 877 | 0
[11 empty] | 878 | 0
[11 empty] | 879 | 0
[11 empty] | 880 | 0
[11 empty] | 881 | 0
[11 empty] | 882 | 0
[11 empty] | 883 | 0
[11 empty] | 884 | 0
[11 empty] | 885 | 0
[11 empty] | 886 | 0
[11 empty] | 887 | 0
[11 empty] | 888 | 0
[11 empty] | 889 | 0
[11 empty] | 890 | 0
[11 empty] | 891 | 0
[11 empty] | 892 | 0
[11 empty] | 893 | 0
[11 empty] | 894 | 0
[11 empty] | 895 | 0
[11 empty] | 896 | 0
[11 empty] | 897 | 0
[11 empty] | 898 | 0
[11 empty] | 899 | 0
[11 empty] | 900 | 0
[11 empty] | 901 | 0
[11 empty] | 902 | 0
[11 empty] | 903 | 0
[11 empty] | 904 | 0
[11 empty] | 905 | 0
[11 empty] | 906 | 0
[11 empty] | 907 | 0
[11 empty] | 908 | 0
[11 empty] | 909 | 0
[11 empty] | 910 | 0
[11 empty] | 911 | 0
[11 empty] | 912 | 0
[11 empty] | 913 | 0
[11 empty] | 914 | 0
[11 empty] | 915 | 0
[11 empty] | 916 | 0
[11 empty] | 917 | 0
[11 empty] | 918 | 0
[11 empty] | 919 | 0
[11 empty] | 920 | 0
[11 empty] | 921 | 0
[11 empty] | 922 | 0
[11 empty] | 923 | 0
[11 empty] | 924 | 0
[11 empty] | 925 | 0
[11 empty] | 926 | 0
[11 empty] | 927 | 0
[11 empty] | 928 | 0
[11 empty] | 929 | 0
[11 empty] | 930 | 0
[11 empty] | 931 | 0
[11 empty] | 932 | 0
[11 empty] | 933 | 0
[11 empty] | 934 | 0
[11 empty] | 935 | 0
[11 empty] | 936 | 0
[11 empty] | 937 | 0
[11 empty] | 938 | 0
[11 empty] | 939 | 0
[11 empty] | 940 | 0
[11 empty] | 941 | 0
[11 empty] | 942 | 0
[11 empty] | 943 | 0
[11 empty] | 944 | 0
[11 empty] | 945 | 0
[11 empty] | 946 | 0
[11 empty] | 947 | 0
[11 empty] | 948 | 0
[11 empty] | 949 | 0
[11 empty] | 950 | 0
[11 empty] | 951 | 0
[11 empty] | 952 | 0
[11 empty] | 953 | 0
[11 empty] | 954 | 0
[11 empty] | 955 | 0
[11 empty] | 956 | 0
[11 empty] | 957 | 0
[11 empty] | 958 | 0
[11 empty] | 959 | 0
[11 empty] | 960 | 0
[11 empty] | 961 | 0
[11 empty] | 962 | 0
[11 empty] | 963 | 0
[11 empty] | 964 | 0
[11 empty] | 965 | 0
[11 empty] | 966 | 0
[11 empty] | 967 | 0
[11 empty] | 968 | 0
[11 empty] | 969 | 0
[11 empty] | 970 | 0
[11 empty] | 971 | 0
[11 empty] | 972 | 0
[11 empty] | 973 | 0
[11 empty] | 974 | 0
[11 empty] | 975 | 0
[11 empty] | 976 | 0
[11 empty] | 977 | 0
[11 empty] | 978 | 0
[11 empty] | 979 | 0
[11 empty] | 980 | 0
[11 empty] | 981 | 0
[11 empty] | 982 | 0
[11 empty] | 983 | 0
[11 empty] | 984 | 0
[11 empty] | 985 | 0
[11 empty] | 986 | 0
[11 empty] | 987 | 0
[11 empty] | 988 | 0
[11 empty] | 989 | 0
[11 empty] | 990 | 0
[11 empty] | 991 | 0
[11 empty] | 992 | 0
[11 empty] | 993 | 0
[11 empty] | 994 | 0
[11 empty] | 995 | 0
[11 empty] | 996 | 0
[11 empty] | 997 | 0
[11 empty] | 998 | 0
[11 empty] | 999 | 0
[11 empty] | 1000 | 0
[11 empty] | 1001 | 0
[11 empty] | 1002 | 0
[11 empty] | 1003 | 0
[11 empty] | 1004 | 0
[11 empty] | 1005 | 0
[11 empty] | 1006 | 0
[11 empty] | 1007 | 0
[11 empty] | 1008 | 0
[11 empty] | 1009 | 0
[11 empty] | 1010 | 0
[11 empty] | 1011 | 0
[11 empty] | 1012 | 0
[11 empty] | 1013 | 0
[11 empty] | 1014 | 0
[11 empty] | 1015 | 0
[11 empty] | 1016 | 0
[11 empty] | 1017 | 0
[11 empty] | 1018 | 0
[11 empty] | 1019 | 0
[11 empty] | 1020 | 0
[11 empty] | 1021 | 0
[11 empty] | 1022 | 0
[11 empty] | 1023 | 0
[11 empty] | 1024 | 0
[11 empty] | 1025 | 0
[11 empty] | 1026 | 0
[11 empty] | 1027 | 0
[11 empty] | 1028 | 0
[11 empty] | 1029 | 0
[11 empty] | 1030 | 0
[11 empty] | 1031 | 0
[11 empty] | 1032 | 0
[11 empty] | 1033 | 0
[11 empty] | 1034 | 0
[11 empty] | 1035 | 0
[11 empty] | 1036 | 0
[11 empty] | 1037 | 0
[11 empty] | 1038 | 0
[11 empty] | 1039 | 0
[11 empty] | 1040 | 0
[11 empty] | 1041 | 0
[11 empty] | 1042 | 0
[11 empty] | 1043 | 0
[11 empty] | 1044 | 0
[11 empty] | 1045 | 0
[11 empty] | 1046 | 0
[11 empty] | 1047 | 0
[11 empty] | 1048 | 0
[11 empty] | 1049 | 0
[11 empty] | 1050 | 0
[11 empty] | 1051 | 0
[11 empty] | 1052 | 0
[11 empty] | 1053 | 0
[11 empty] | 1054 | 0
[11 empty] | 1055 | 0
[11 empty] | 1056 | 0
[11 empty] | 1057 | 0
[11 empty] | 1058 | 0
[11 empty] | 1059 | 0
[11 empty] | 1060 | 0
[11 empty] | 1061 | 0
[11 empty] | 1062 | 0
[11 empty] | 1063 | 0
[11 empty] | 1064 | 0
[11 empty] | 1065 | 0
[11 empty] | 1066 | 0
[11 empty] | 1067 | 0
[11 empty] | 1068 | 0
[11 empty] | 1069 | 0
[11 empty] | 1070 | 0
[11 empty] | 1071 | 0
[11 empty] | 1072 | 0
[11 empty] | 1073 | 0
[11 empty] | 1074 | 0
[11 empty] | 1075 | 0
[11 empty] | 1076 | 0
[11 empty] | 1077 | 0
[11 empty] | 1078 | 0
[11 empty] | 1079 | 0
[11 empty] | 1080 | 0
[11 empty] | 1081 | 0
[11 empty] | 1082 | 0
[11 empty] | 1083 | 0
[11 empty] | 1084 | 0
[11 empty] | 1085 | 0
[11 empty] | 1086 | 0
[11 empty] | 1087 | 0
[11 empty] | 1088 | 0
[11 empty] | 1089 | 0
[11 empty] | 1090 | 0
[11 empty] | 1091 | 0
[11 empty] | 1092 | 0
[11 empty] | 1093 | 0
[11 empty] | 1094 | 0
[11 empty] | 1095 | 0
[11 empty] | 1096 | 0
[11 empty] | 1097 | 0
[11 empty] | 1098 | 0
[11 empty] | 1099 | 0
[11 empty] | 1100 | 0
[11 empty] | 1101 | 0
[11 empty] | 1102 | 0
[11 empty] | 1103 | 0
[11 empty] | 1104 | 0
[11 empty] | 1105 | 0
[11 empty] | 1106 | 0
[11 empty] | 1107 | 0
[11 empty] | 1108 | 0
[11 empty] | 1109 | 0
[11 empty] | 1110 | 0
[11 empty] | 1111 | 0
[11 empty] | 1112 | 0
[11 empty] | 1113 | 0
[11 empty] | 1114 | 0
[11 empty] | 1115 | 0
[11 empty] | 1116 | 0
[11 empty] | 1117 | 0
[11 empty] | 1118 | 0
[11 empty] | 1119 | 0
[11 empty] | 1120 | 0
[11 empty] | 1121 | 0
[11 empty] | 1122 | 0
[11 empty] | 1123 | 0
[11 empty] | 1124 | 0
[11 empty] | 1125 | 0
[11 empty] | 1126 | 0
[11 empty] | 1127 | 0
[11 empty] | 1128 | 0
[11 empty] | 1129 | 0
[11 empty] | 1130 | 0
[11 empty] | 1131 | 0
[11 empty] | 1132 | 0
[11 empty] | 1133 | 0
[11 empty] | 1134 | 0
[11 empty] | 1135 | 0
[11 empty] | 1136 | 0
[11 empty] | 1137 | 0
[11 empty] | 1138 | 0
[11 empty] | 1139 | 0
[11 empty] | 1140 | 0
[11 empty] | 1141 | 0
[11 empty] | 1142 | 0
[11 empty] | 1143 | 0
[11 empty] | 1144 | 0
[11 empty] | 1145 | 0
[11 empty] | 1146 | 0
[11 empty] | 1147 | 0
[11 empty] | 1148 | 0
[11 empty] | 1149 | 0
[11 empty] | 1150 | 0
[11 empty] | 1151 | 0
[11 empty] | 1152 | 0
[11 empty] | 1153 | 0
[11 empty] | 1154 | 0
[11 empty] | 1155 | 0
[11 empty] | 1156 | 0
[11 empty] | 1157 | 0
[11 empty] | 1158 | 0
[11 empty] | 1159 | 0
[11 empty] | 1160 | 0
[11 empty] | 1161 | 0
[11 empty] | 1162 | 0
[11 empty] | 1163 | 0
[11 empty] | 1164 | 0
[11 empty] | 1165 | 0
[11 empty] | 1166 | 0
[11 empty] | 1167 | 0
[11 empty] | 1168 | 0
[11 empty] | 1169 | 0
[11 empty] | 1170 | 0
[11 empty] | 1171 | 0
[11 empty] | 1172 | 0
[11 empty] | 1173 | 0
[11 empty] | 1174 | 0
[11 empty] | 1175 | 0
[11 empty] | 1176 | 0
[11 empty] | 1177 | 0
[11 empty] | 1178 | 0
[11 empty] | 1179 | 0
[11 empty] | 1180 | 0
[11 empty] | 1181 | 0
[11 empty] | 1182 | 0
[11 empty] | 1183 | 0
[11 empty] | 1184 | 0
[11 empty] | 1185 | 0
[11 empty] | 1186 | 0
[11 empty] | 1187 | 0
[11 empty] | 1188 | 0
[11 empty] | 1189 | 0
[11 empty] | 1190 | 0
[11 empty] | 1191 | 0
[11 empty] | 1192 | 0
[11 empty] | 1193 | 0
[11 empty] | 1194 | 0
[11 empty] | 1195 | 0
[11 empty] | 1196 | 0
[11 empty] | 1197 | 0
[11 empty] | 1198 | 0
[11 empty] | 1199 | 0
[11 empty] | 1200 | 0
[11 empty] | 1201 | 0
[11 empty] | 1202 | 0
[11 empty] | 1203 | 0
[11 empty] | 1204 | 0
[11 empty] | 1205 | 0
[11 empty] | 1206 | 0
[11 empty] | 1207 | 0
[11 empty] | 1208 | 0
[11 empty] | 1209 | 0
[11 empty] | 1210 | 0
[11 empty] | 1211 | 0
[11 empty] | 1212 | 0
[11 empty] | 1213 | 0
[11 empty] | 1214 | 0
[11 empty] | 1215 | 0
[11 empty] | 1216 | 0
[11 empty] | 1217 | 0
[11 empty] | 1218 | 0
[11 empty] | 1219 | 0
[11 empty] | 1220 | 0
[11 empty] | 1221 | 0
[11 empty] | 1222 | 0
Dust Used
ISO 12103-1 A2 Fine Test dust was used (supplied with SAG) as this has a known particle distribution shown on the next sheet.
OPCN2 Notes
OPCN2 sample time was increased to 5 seconds for this test. However, due to a known error with the serial logging software used, only every second data point was logged. Hence the data plotted is only every 10 seconds.
PMS1003 Notes
Maximum assumed particle size was set at 40um, as 90% of particles are less than 44 micron with the test dust used (shown on the cumulative graph next sheet).
Opacity Meter Notes
This time the opacity meter blower was turned on to purge air through the lenses to keep them clean throughout the test. This was forgotten about last test, hence likely resulted in the large drift seen previously with the opacity meter.

## Particle Distribution
Micron Size | Cumulative Vol % | Incremental Vol %
0.97 | 5 | 5
1.38 | 8.75 | 3.75
2.75 | 22.3 | 13.55
5.5 | 41 | 18.7
11 | 58.25 | 17.25
22 | 74.75 | 16.5
44 | 90.5 | 15.75
88 | 98.4 | 7.9
124.5 | 99.5 | 1.1
176 | 100 | 0.5